AMERISTAR® PERIMETER SECURITY USA INC.

TransPort Traverse II® - Ornamental Cantilever Gate System

CONSTRUCTION SPECIFICATION - SECTION 32 31 00

PART 1 - GENERAL

1.01 WORK INCLUDED

The contractor shall provide all labor, materials, and appurtenances necessary for installation of the industrial ornamental cantilever gate system defined herein at (specify project site).

1.02    RELATED WORK

Section ___  ___  -  Earthwork

Section ___  ___  - Concrete

1.03 SYSTEM DESCRIPTION

The manufacturer shall supply a total industrial ornamental cantilever gate system of the Ameristar® TransPort Traverse II® (specify Classic™, Majestic™, Genesis™ or Invincible™) design.  The system shall include all components (i.e., tracks, uprights, bracing, pickets, hardware and fasteners) required.

1.04 QUALITY ASSURANCE

The contractor shall provide laborers and supervisors who are thoroughly familiar with the type of construction involved and materials and techniques specified.

1.05 REFERENCES

- ASTM A653/A653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy Coated (Galvannealed) by the Hot-Dip Process.

- ASTM B117 - Practice for Operating Salt-Spray (Fog) Apparatus.

- ASTM B221 – Aluminum and Aluminum Alloy Extruded Bars, Shapes and Tubes

- ASTM D523 - Test Method for Specular Gloss.

- ASTM D714 - Test Method for Evaluating Degree of Blistering in Paint.

- ASTM D822 - Practice for Conducting Tests on Paint and Related Coatings and Materials using Filtered Open-Flame Carbon-Arc Light and Water Exposure Apparatus.

- ASTM D1654 - Test Method for Evaluation of Painted or Coated Specimens Subjected to Corrosive Environments.

- ASTM D2244 - Test Method for Calculation of Color Differences from Instrumentally Measured Color Coordinates.

- ASTM D2794 - Test Method for Resistance of Organic Coatings to the Effects of Rapid Deformation (Impact).

- ASTM D3359 - Test Method for Measuring Adhesion by Tape Test.

1.06 SUBMITTAL

The manufacturer's submittal package shall be provided prior to installation.

1.07 PRODUCT HANDLING AND STORAGE

Upon receipt at the job site, all materials shall be checked to ensure that no damages occurred during shipping or handling.  Materials shall be stored in such a manner to ensure proper ventilation and drainage, and to protect against damage, weather, vandalism and theft.

PART 2 - MATERIALS

2.01	MANUFACTURER

All industrial ornamental cantilever gates shall conform to the Ameristar( TransPort Traverse II( gate system, (specify Classic(, Majestic(, Genesis(, or Invincible() design, manufactured by Ameristar Perimeter Security USA Inc., in Tulsa, Oklahoma.   The project gate schedule shall include the following additional information for each cantilever gate included in the project scope: (specify standard opening range in feet) opening, (specify standard height in feet) height, (specify direction of gate travel to the open position, right or left, viewing from outside fence line looking in) gate travel direction.

2.02	MATERIAL

A.  The materials used for cantilever gate framing (uprights & diagonal bracing) shall be manufactured from ASTM A653 Steel with yield strength of 34,800 PSI, a tensile strength of 37,700PSI and a standard mill finish. The TransPort™ aluminum extrusions for top and bottom enclosed tracks shall be alloy and temper designation 6005-T5 to meet ASTM B221.

B.  Material for pickets shall be 1” square x 16 ga. steel pickets on gate systems less than 22’ openings, gate systems greater than 22’ openings shall have 1" square x 1/8” wall aluminum pickets.  Picket on center spacing shall not exceed 5".  Pickets shall be securely fastened to face of top and bottom enclosed track extrusions.

C.  Material for gate uprights shall be 2 ½” X 16 ga. and diagonal bracing shall be 2” square x 16 ga. steel.  The cross-sectional shape of the enclosed-track shall confirm to the manufacturers Traverse-Trak™ design with a single extrusion consisting of a 3.75” x 7” channeled support with integrated 3” x 3” enclosed-track raceway.  Gates less than 18-foot openings shall be constructed as a single-track system, gates greater than 20-foot openings shall be constructed as a spliced track system.

D.  Steel material for fence posts and pickets shall be galvanized prior to forming in accordance with the requirements of ASTM A653/A653M, with minimum yield strength of 45,000 psi (310 MPa).  The steel shall be hot-dip galvanized to meet the requirements of ASTM A653/A653M with a minimum zinc coating weight of 0.90 oz/ft2 (276 g/m2), Coating Designation G-90.  Depending on application and gate size, material for gate support posts shall be 4” x 11 Ga., or 6” x 3/16”.

E.  Support carriage trolly assemblies, for the gates enclosed bottom track, shall have two mounting options: concrete slab or post mount bracket configuration, and shall support the vertical load of the gate. The gates center of gravity shall be centered on the bottom support carriage trolly assemblies. Installation of the carriage trolly assemblies shall be per manufacturer’s installation instructions (written or video).

2.03 FABRICATION

A.  Gate frame uprights and diagonal bracing shall be prefabricated and pre-punched to accept frame fasteners.  Enclosed track shall be pre-punched to accept gate uprights.  Pickets shall be precut to specified length and predrilled to accept picket to track fasteners.  Posts shall be precut to specified lengths.

B. Top and bottom enclosed track extrusions shall be mechanically fastened to vertical gate uprights and intermediate supports, as required by assembly instructions.  Diagonal bracing shall be mechanically fastened to vertical gate uprights and intermediate supports, as required by assembly instructions.  Pickets shall be mechanically fastened to top and bottom enclosed track, as required by assembly instructions.

C.  The manufactured gate components shall be subjected to the Ameristar thermal stratification coating process (high-temperature, in-line, multi-stage, and multi-layer) including, as a minimum, a six-stage pretreatment/wash and an electrostatic spray application of a polyester finish.  The topcoat shall be a “no-mar” TGIC polyester powder coat finish with a minimum thickness of 2 mils (0.0508mm).  The color shall be (specify Black, Bronze, White, or Desert Sand).  The stratification-coated framework shall be capable of meeting the performance requirements for each quality characteristic shown in Table 1.

PART 3 - EXECUTION

3.01 PREPARATION

All new installation shall be laid out by the contractor in accordance with the construction plans.

3.02 GATE INSTALLATION

A.  Cantilever support posts shall be set in concrete footers having a minimum depth of 48” (Note:  In most cases, local soil, code restrictions and inclement weather conditions may require a greater depth). Posts shall be spaced according to gate specific submittal drawings. Optional Safety Kit must be included if the gate is automated. The “Earthwork” and “Concrete” sections of this specification shall govern material requirements for the concrete footer.

B.  Gate to be installed per manufacturers gate installation instructions (written or video).  For Gates that will be automated, the contractor shall be responsible to ensure the gate, and installation, meet ASTM F2200 and UL325 Standards.

3.03 GATE INSTALLATION MAINTENANCE

When cutting/drilling posts adhere to the following steps to seal the exposed steel surfaces; 1) Remove all metal shavings from cut area.  2) Apply zinc-rich primer to thoroughly cover cut edge and/or drilled hole; let dry.  3) Apply 2 coats of custom finish paint matching fence color.  Failure to seal exposed surfaces per steps 1-3 above will negate warranty.  Ameristar spray cans or paint pens shall be used to prime and finish exposed surfaces; it is recommended that paint pens be used to prevent overspray.  Use of non-Ameristar parts or components will negate the manufactures’ warranty.

3.04 GATE INSTALLATION

Gate posts shall be spaced according to the manufacturers’ drawings, dependent on clear opening.  The manufacturers’ gate drawings shall identify the necessary gate hardware required for the application.  Gate hardware shall be provided by the manufacture of the gate and shall be installed per manufacturer’s recommendations.

3.05 CLEANING

The contractor shall clean the jobsite of excess materials; post-hole excavations shall be scattered uniformly away from posts.

| Table 1 – Coating Performance Requirements |
| --- |
| Quality Characteristics | ASTM Test Method | Performance Requirements |
| Adhesion | D3359 – Method B | Adhesion (Retention of Coating) over 90% of test area (Tape and knife test). |
| Corrosion Resistance | B117, D714 & D1654chart | Corrosion Resistance over 1,000 hours (Scribed per D1654; failure mode is accumulation of 1/8” coating loss from scribe or medium #8 blisters). |
| Impact Resistance | D2794 | Impact Resistance over 60 inch lb. (Forward impact using 0.625” ball). |
| Weathering Resistance | D822 D2244, D523 (60˚ Method) | Weathering Resistance over 1,000 hours (Failure mode is 60% loss of gloss or color variance of more than 3 delta-E color units). |